Aquila – Iowa 
Energy Efficiency Status Report
2006

Prepared for:
Iowa Utilities Board

May 1, 2007

Prepared by:
 Aquila Networks

K:\2007 Projects\2007-02 (Aquila) Iowa Regulatory Support 2007\2006 Annual Status Report\Report\2006 Status Report_Final.doc

Table of Contents

1.	Introduction	1

2.	Residential Program Performance	7

Residential Space and Water Heating	7

Residential New Construction	13

Residential Audit Program	15

3.	Non-Residential Program Performance	17

Small Commercial Audit Program	17

Commercial and Industrial Prescriptive Rebates	17

Commercial and Industrial Custom Rebates	19

4.	Special Programs	21

Low-Income Assistance Programs	21

School-Based Energy Education	24

Trees Forever and Trees for Kids	25

Iowa Energy Center and Center for Global & Regional Environmental Research	25

Introduction

Aquila operates a suite of programs for its residential, commercial, and industrial consumers in Iowa. These programs are designed to encourage the adoption of high-efficiency gas technologies and behaviors. As requested by the Iowa Utility Board (IUB), Aquila respectfully submits this status report for the program year 2006. In this report, Aquila will:

Summarize program participation, expenditures, and impacts

Document adaptive management strategies over the course of the reporting period

Demonstrate the overall cost effectiveness of specific programs and the overall program portfolio

The various programs offered by Aquila to Iowa customers during 2006 are listed in Table 1.

Table 1. Program Offerings

| Program |
| --- |
| Residential |
| Residential Heating | Furnace Replacement |
|  | Envelope Measures Retrofit |
|  | Water Heating |
|  | Setback Thermostats & Maintenance of Furnaces |
|  | Innovative Space & Water Heating Technologies |
| Residential New Construction | Performance Based Incentives for High-Efficiency Construction |
| Residential Audit | Site Visits & Low Cost Measures |
| School-Based Energy Education | Curriculum Materials & Low Cost Measures |
| Commercial & Industrial |
| Commercial & Industrial | Small Commercial Audits |
|  | C&I Prescriptive Rebates |
|  | C&I Custom Rebates |
| Special Programs |
| Low-Income | Weatherization |
|  | Energy Education |
|  | Habitat for Humanity (New Construction) |
|  | Multi-Family Efficiency Improvements |
| Other | Tree Planting Program |
| Other | Iowa Energy Center & Center for Global Environmental Research |

While spending was higher than budget for the program year, participation and impacts greatly exceeded goals as shown in Figure 1.

Figure 1. 2006 Program Results

Table 2 compares the Aquila Energy Efficiency Plan goals for 2006 to actual expenditures, impacts and participation. Program expenditures, impacts and participation all exceeded projected budgets and goals as interest in programs remained high. Budgets have increased by 2.6% over the 2005 levels as provided for in Aquila’s Energy Efficiency Plan. Participation and impact goals have increased by 2.2%.

Table 2. 2006 Program Goals and Performance

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $2,781,167 | $4,256,243 | 153% |
| Energy Impacts | 80,889 | 167,676 | 207% |
| Demand Impacts | 925 | 2,075 | 224% |
| Participation | 7,858 | 17,029 | 217% |

Table 3 shows the overall energy and demand savings by program, while Table 4 shows the expenditure by program.

Table 3. 2006 Energy Savings (MCF) by Program

| Program | Savings | Peak Savings |
| --- | --- | --- |
|  | Goal (MCF) | Actual (MCF) | As Percent of Goal | Annual Goal | To Date | As Percent of Goal |
| Furnace Replacement | 20,268 | 27,523 | 136% | 298 | 404 | 136% |
| Envelope Measures Retrofit | 5,493 | 37,676 | 686% | 82 | 560 | 686% |
| Water Heater Replacement | 1,093 | 794 | 73% | 3 | 2 | 72% |
| Innovative Space & Water Heating Technologies | 1,050 | 1,530 | 146% | 13 | 19 | 143% |
| Setback Thermostat & Furnace Maintenance | 12,412 | 40,899 | 330% | 182 | 601 | 330% |
| Residential New Construction | 7,827 | 8,072 | 103% | 101 | 104 | 103% |
| Residential Energy Audits | 2,264 | 11,269 | 498% | 6 | 30 | 494% |
| School-Based Energy Education | 927 | 2,042 | 220% | 3 | 6 | 222% |
| C/I Prescriptive Rebate | 16,706 | 15,878 | 95% | 124 | 118 | 95% |
| C/I Custom Rebate | 4,640 | 13,785 | 297% | 60 | 178 | 297% |
| Low-Income Weatherization | 3,119 | 3,119 | 100% | 32 | 32 | 100% |
| Low-Income Energy Education | 4,415 | 4,415 | 100% | 12 | 12 | 100% |
| Weatherization Teams | 398 | 398 | 100% | 7 | 7 | 100% |
| Multi-Family Efficiency Improvement Program | 277 | 277 | 100% | 4 | 4 | 100% |
| Total | 80,889 | 167,676 | 207% | 925 | 2,075 | 224% |

Table 4. 2006 Expenditures by Program

| Program | Annual Budget | Actual Expenditures | % of Budget Expended |
| --- | --- | --- | --- |
| Furnace Replacement | $626,342 | $802,938 | 128% |
| Envelope Measures Retrofit | $200,535 | $1,139,282 | 568% |
| Water Heater Replacement | $34,738 | $22,161 | 64% |
| Innovative Space & Water Heating Technologies | $40,265 | $55,858 | 139% |
| Setback Thermostat & Furnace Maintenance | $88,425 | $206,125 | 233% |
| Residential New Construction | $373,700 | $324,432 | 87% |
| Residential Energy Audits | $132,637 | $372,162 | 281% |
| School Based Energy Education | $49,476 | $55,743 | 113% |
| Small Commercial Energy Audits | $105,268 | $84,566 | 80% |
| C/I Prescriptive Rebate | $126,321 | $139,255 | 110% |
| C/I Custom Rebate | $142,111 | $194,448 | 137% |
| Low Income Weatherization | $422,089 | $445,799 | 106% |
| Low Income Energy Education | $49,487 | $56,290 | 114% |
| Habitat for Humanity | $30,528 | $17,573 | 58% |
| Multi-Family Efficiency Improvement Program | $47,809 | $18,512 | 39% |
| Weatherization Teams | $17,739 | $17,739 | 100% |
| Iowa Energy Center & Center for Global Environmental Research | $176,850 | $186,886 | 106% |
| Tree Planting Program | $116,847 | $116,473 | 100% |
| Total | $2,781,167 | $4,256,243 | 153% |

Table 5 shows participation by program.

Table 5. 2006 Participation by Program

| Program | Participation Goals | Annual Participation | Participation as Percent of Goal |
| --- | --- | --- | --- |
| Furnace Replacement | 2,089 | 2,503 | 120% |
| Envelope Measures Retrofit | 366 | 1,785 | 488% |
| Water Heater Replacement | 262 | 222 | 85% |
| Innovative Space & Water Heating Technologies | 99 | 150 | 151% |
| Setback Thermostat & Furnace Maintenance | 1,097 | 4,039 | 368% |
| Residential New Construction | 208 | 215 | 103% |
| Residential Energy Audits | 836 | 2,659 | 312% |
| School-Based Energy Education | 1,044 | 829 | 79% |
| Small Commercial Energy Audits | 183 | 129 | 71% |
| C/I Prescriptive Rebate | 366 | 240 | 66% |
| C/I Custom Rebate | 67 | 70 | 104% |
| Low-Income Weatherization | 184 | 139 | 76% |
| Low-Income Energy Education | 1,012 | 4,000 | 395% |
| Weatherization Teams | 45 | 45 | 100% |
| Total | 7,858 | 17,029 | 217% |

Overall program cost-effectiveness is shown in Table 6.  We measure program cost effectiveness from the following perspectives:

Societal (SOC)

Utility (UCT)

Rate Impact (RIM)

Participant (PCT)

Table 6. Program Portfolio Cost Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $6,474,889 | $13,849,655 | $7,374,765 | 2.14 |
| UCT | $3,958,129 | $9,601,743 | $5,643,613 | 2.43 |
| RIM | $10,985,587 | $9,601,743 | ($1,383,844) | 0.87 |
| PCT | $2,277,917 | $6,989,217 | $4,711,301 | 3.07 |

See Appendix A for a summary of the avoided costs and discount rates used for the analysis conducted for this report.

The year 2006 was an extremely successful program year. As described in the subsequent sections, Aquila:

Delivered cost-effective savings to both residential and business customers

Established relationships with key trade allies

Facilitated coordination with other Iowa utilities to offer low-income multi-family efficiency improvements and education efforts

Served over 15,000 Iowa households and 400 businesses

Generated over $7 million in net benefits from a societal perspective

Areas of focus for program year 2007 will include:

Continued expansion of the Residential New Construction program

Increase participation in Habitat for Humanity Program

Review and expand prescriptive measures in the Commercial Prescriptive

Increased participation in the Small Commercial and Industrial Audit program

Continued development and increased activity in the low-income multi-family and education initiatives

Continued success in implementation of other initiatives.

Residential Program Performance

# Residential Space and Water Heating

Aquila’s Residential Space and Water Heating program has five components:

Furnace Replacement

Envelope Measures Retrofit

Water Heating

Setback Thermostats & Maintenance of Furnaces

Innovative Space & Water Heating Technologies

Performance of each program component is measured separately and discussed below.

## Furnace Replacement

A total of 2,503 furnace rebates were paid in 2006. The furnace replacement program provides incentives for high-efficiency furnace replacements. The incentives, as shown in Table 7, are tiered to encourage customers to move to higher efficiency levels.

Table 7. Furnace Rebate Levels

| Efficiency Level | Incentive |
| --- | --- |
| AFUE between 92%  94% | $225 |
| AFUE between 94%  96% | $300 |
| AFUE of 96% or higher  $350 incentive | $375 |

Participation was tracked at the various efficiency levels. The percentage of furnaces installed at each efficiency level is shown in Table 8.

Table 8. Furnace Rebate Installations

| Efficiency Level | Percentage of Installations |
| --- | --- |
| AFUE between 92%  94% | 62.9% |
| AFUE between 94%  96% | 37.0% |
| AFUE of 96% or higher  $350 incentive | 0.1% |

Table 9 provides a comparison of program budget and goals to actual program performance for 2006.

Table 9. Furnace Rebate Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $626,342 | $802,938 | 128% |
| Energy Impacts (MCF) | 20,268 | 27,523 | 136% |
| Demand Impacts (MCF/day) | 298 | 404 | 136% |
| Participation | 2,089 | 2,503 | 120% |

The cost-effectiveness of this program component is shown in Table 10.

Table 10. Furnace Rebate Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $1,403,404 | $2,954,839 | $1,551,435 | 2.11 |
| UCT | $730,675 | $2,003,330 | $1,272,656 | 2.74 |
| RIM | $2,144,941 | $2,003,330 | ($141,611) | 0.93 |
| PCT | $612,093 | $1,405,906 | $793,813 | 2.30 |

## Envelope Measures Retrofit

This component of the residential space and water-heating program was again highly utilized by Iowa customers. The program provides incentives for installation of wall, ceiling or foundation insulation or high-efficiency windows. The number of qualified measures installed is shown in Table 11.

Table 11. Program Participation by Measure

| Measure/Efficiency Level | Installations |
| --- | --- |
| High-Efficiency Windows | 2,609 |
| Insulation (Ceiling) R = 38 | 138 |
| Insulation (Ceiling) R=49 | 1,327 |
| Insulation (Foundation) R=13 | 96 |
| Insulation (Foundation) R=19 | 208 |
| Insulation (Wall) R=13 | 199 |
| Insulation (Wall) R=19 | 72 |
| Insulation (Wall) R=25 | 16 |
| Total Measure Installations | 4,665 |

Table 12 provides a comparison of program budget and goals to actual program performance for 2006. Participation, for the second year in a row, was outstanding. Participation for 2006 was almost 5 times the goal.

Table 12. Envelope Measures Retrofit Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $200,535 | $1,139,282 | 568% |
| Energy Impacts (MCF) | 5,493 | 37,676 | 686% |
| Demand Impacts (MCF/day) | 82 | 560 | 686% |
| Participation | 366 | 1,785 | 488% |

The cost-effectiveness of the Envelope Measures Retrofit program is shown in Table 13.

Table 13. Envelope Measures Retrofit Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $1,615,795 | $4,044,948 | $2,429,153 | 2.50 |
| UCT | $1,036,748 | $2,742,406 | $1,705,658 | 2.65 |
| RIM | $2,972,770 | $2,742,406 | ($230,364) | 0.92 |
| PCT | $509,429 | $1,924,577 | $1,415,148 | 3.78 |

A comprehensive evaluation of this program is currently being conducted. We expect to release results during the summer of 2007.

## Water Heater Replacement

Aquila offered incentives to encourage adoption of high-efficiency water heaters. The program was originally designed to incorporate new ENERGY STAR standards for water heaters. However, in the light of new federal standards for water heater efficiency, the Environmental Protection Agency made the decision in January of 2004 not to establish an ENERGY STAR label for water heaters. In 2005, Aquila modified the program requirements and offered an incentive of $40 for water heaters with a energy factor (EF) of 0.62 or higher.

Table 14 provides a summary and comparison of program budget and goals to actual program performance for 2006.

Table 14. Water Heater Replacement Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $34,738 | $22,161 | 64% |
| Energy Impacts (MCF) | 1,093 | 794 | 73% |
| Demand Impacts (MCF/day) | 3 | 2 | 72% |
| Participation | 262 | 222 | 85% |

Cost-effectiveness of the water heater replacement program is shown in Table 15.

Table 15. Water Heater Replacement Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $36,745 | $85,290 | $48,545 | 2.32 |
| UCT | $20,167 | $57,825 | $37,659 | 2.87 |
| RIM | $60,989 | $57,825 | ($3,164) | 0.95 |
| PCT | $14,992 | $40,581 | $25,589 | 2.71 |

## Setback Thermostats and Furnace Maintenance

The Setback Thermostat and Furnace Maintenance program encourages the installation of setback thermostats and the regular maintenance of furnaces. The program provides incentives for either self-installed or professionally installed thermostats and furnace maintenance. Enhanced incentives are provided for the combined service, with the thought that the contractor performing the maintenance service can give the program participants effective training on the operation of the setback thermostat. Table 16 details the various incentive levels and the participation related to each measure.

Table 16. Setback Thermostat and Furnace Maintenance Participation

| Measure | Incentive Level | Installations |
| --- | --- | --- |
| Furnace Maintenance | $30 | 1,488 |
| Setback Thermostat | $30 | 143 |
| Setback Thermostat (Professional Installation) | $50 | 2,304 |
| Setback Thermostat and Furnace Maintenance | $100 | 255 |

Participation and impacts for this program component significantly exceed targets as shown in Table 17.

Table 17. Setback Thermostat and Furnace Maintenance Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $88,425 | $206,125 | 233% |
| Energy Impacts (MCF) | 12,412 | 40,899 | 330% |
| Demand Impacts (MCF/day) | 182 | 601 | 330% |
| Participation | 1,097 | 4,039 | 368% |

Cost-effectiveness of the 2006 implementation of the Setback Thermostat and Furnace Maintenance Initiative is shown in Table 18.

Table 18. Setback Thermostat and Furnace Maintenance Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $381,087 | $1,936,457 | $1,555,370 | 5.08 |
| UCT | $187,574 | $1,474,821 | $1,287,247 | 7.86 |
| RIM | $1,419,437 | $1,474,821 | $55,384 | 1.04 |
| PCT | $177,037 | $1,227,115 | $1,050,079 | 6.93 |

## Innovative Space and Water Heating Technologies

In an effort to support adoption of emerging technologies, Aquila includes incentives for innovative space and water heating technologies. Although participation in the program component is limited, it is an important effort to track development and deployment of new technologies. Incentives for included technologies and the participation for each is shown in Table 19.

Table 19. Innovative Space and Water Heating Technologies

| Measure | Incentive Level | Installations |
| --- | --- | --- |
| GFX Drain Heat Recovery | $300 | 0 |
| High-Efficiency Boiler 85% AFUE | $200 | 9 |
| High-Efficiency Boiler 90% AFUE | $400 | 80 |
| Integrated Space and Water Heat 84%CAE | $500 | 12 |
| Integrated Space and Water Heat 90%CAE | $500 | 12 |
| Tankless Water Heater | $100 | 41 |

There were no installations of GFX drain heat recovery systems in 2006 but there was a marked increase in the number of tankless water heaters installed (26 to 41) as well as rapid adoption of the 90% AFUE Boiler incentive added in 2006.

Table 20 provides a summary and comparison of program budget and goals to actual program performance for 2006.

Table 20. Innovative Space and Water Heating Technologies Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $40,265 | $55,858 | 139% |
| Energy Impacts (MCF) | 1,050 | 1,530 | 146% |
| Demand Impacts (MCF/day) | 13 | 19 | 143% |
| Participation | 99 | 150 | 151% |

Cost-effectiveness of this program component is shown in Table 21.

Table 21. Innovative Space and Water Heating Technologies Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $150,938 | $164,301 | $13,363 | 1.09 |
| UCT | $50,831 | $111,393 | $60,562 | 2.19 |
| RIM | $129,470 | $111,393 | ($18,077) | 0.86 |
| PCT | $93,558 | $78,174 | ($15,384) | 0.84 |

Table 22 provides a summary and comparison of the overall Residential Space and Water Heating program budget and goals to actual program performance for 2006. The program impacts and participation exceeded the goals and targets for the year.

Table 22. Residential Space and Water Heating Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $990,305 | $2,226,365 | 225% |
| Energy Impacts (MCF) | 40,316 | 108,422 | 269% |
| Demand Impacts (MCF/day) | 578 | 1,586 | 274% |
| Participation | 3,912 | 8,699 | 222% |

Cost-effectiveness of the overall Residential Space and Water Heating program is shown in Table 23.

Table 23. Residential Space and Water Heating Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $3,587,969 | $9,185,835 | $5,597,867 | 2.56 |
| UCT | $2,025,994 | $6,389,776 | $4,363,783 | 3.15 |
| RIM | $6,727,607 | $6,389,776 | ($337,831) | 0.95 |
| PCT | $1,407,109 | $4,676,353 | $3,269,245 | 3.32 |

# Residential New Construction

Participation increased by over 50% in the third year of Aquila’s residential new construction program. The program, which promotes the construction of energy efficient new homes, is targeted to key decision makers in a position to determine the efficiency of newly constructed homes including:

Builders

Developers

Other key trade allies

New home buyers

Aquila worked with the EPA to develop a set of prescriptive standards to ensure that program homes qualify for the ENERGY STAR label. The program also offers a performance path to meet program requirements. In 2006, approximately 29% of program participants chose the performance path. Included technologies and the participation for each are shown in Table 24.

Table 24. Residential New Construction Participation

| Measure | Installations |
| --- | --- |
| Energy Star Clothes Dryer with Moisture Sensor | 7 |
| Energy Star Clothes Washer | 9 |
| High Efficiency Furnace AFUE between 92% < 94% | 142 |
| High Efficiency Furnace AFUE between 94% < 96% | 30 |
| Home Energy Rating (HERS) | 62 |
| High-Efficiency Water Heater (60 <= 50 Gal.) 0.62 EF | 70 |
| High-Efficiency Water Heater (50 <= 30Gal.) 0.62 EF | 5 |
| High-Efficiency Water Heater (<= 60 Gal.) 0.64 EF | 68 |
| High Efficiency Water Heater (30 Gal.) 0.70 EF | 8 |

The program made significant strides again in 2006, increasing participation by over 50% for the second year in a row (up to 215 from 142 in 2005). Aquila will continue to promote the program, focusing its outreach efforts on builders, but also creating a higher level of consumer awareness, in an effort to increase participation. Aquila continues to refine its prescriptive requirements to track changes to the Environmental Protection Agency’s (EPA) ENERGY STAR-labeled homes.

Table 25 provides a summary of the Residential New Construction program goals and achievements.

Table 25. Residential New Construction Summary

|  | Budget or Goal | Actual | % Budget |
| --- | --- | --- | --- |
| Expenditures | $373,700 | $324,432 | 87% |
| Energy Impacts (MCF) | 7,827 | 8,072 | 103% |
| Demand Impacts (MCF/day) | 101 | 104 | 103% |
| Participation | 208 | 215 | 103% |

Cost-effectiveness of the Residential New Construction Program is shown in Table 26.

Table 26. Residential New Construction Program Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $542,561 | $866,612 | $324,051 | 1.60 |
| UCT | $295,233 | $587,548 | $292,315 | 1.99 |
| RIM | $710,017 | $587,548 | ($122,469) | 0.83 |
| PCT | $223,899 | $412,332 | $188,433 | 1.84 |

# Residential Audit Program

Another program very popular with Aquila customers is the Residential Audit program. The program provides participants with a more comprehensive assessment of savings opportunities within their home. While on-site, the auditor installs a variety of low-cost measures as needed, including:

Water heater blanket

Pipe insulation

Low-flow showerhead

Bathroom aerator

Kitchen aerator

Infiltration kits

The auditor may also adjust the water heater temperature and advise participants to turn down their heating temperature

The program served over three times as many households as was targeted in 2006. Included technologies and the participation for each is shown in Table 27.

Table 27. Residential Audit Participation

| Measure | Installations |
| --- | --- |
| Faucet Aerator (Bathroom) | 1,593 |
| Faucet Aerator (Kitchen) | 1,619 |
| Low-Flow Showerhead | 1,826 |
| Energy Star Infiltration Kit | 96 |
| Pipe Insulation | 1,362 |
| Water Heater Insulation Blanket | 482 |
| Turn down thermostat* | 905 |
| Turn down water heater temperature* | 453 |
| Turn up water heater temperature* | 186 |
| * Estimates for number of households adjusting their space and water heating temperatures and the degree of adjustment are from the 2006 Iowa Energy Wise Program impact evaluation. |

Table 28 provides a summary of the Residential Audit program performance compared to budget and goals.

Table 28. Residential Audit Summary

|  | Budget or Goal | Actual | % Budget |
| --- | --- | --- | --- |
| Expenditures | $132,637 | $372,162 | 281% |
| Energy Impacts (MCF) | 2,264 | 11,269 | 498% |
| Demand Impacts (MCF/day) | 6 | 30 | 494% |
| Participation | 836 | 2,663 | 319% |

Cost-effectiveness of the Residential Audit program is shown in Table 29.

Table 29. Residential Audit Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $353,800 | $533,537 | $179,737 | 1.51 |
| UCT | $338,668 | $406,346 | $67,678 | 1.20 |
| RIM | $678,074 | $406,346 | ($271,728) | 0.60 |
| PCT | $0 | $338,098 | $338,098 | N/A |

A comprehensive evaluation of this program is currently being conducted. We expect to release results during the summer of 2007.

Non-Residential Program Performance

Aquila offers both prescriptive and custom rebates, as well as a small-commercial audit program in Iowa. While Aquila has a long history of successfully offering the C&I custom program, we  introduced a prescriptive program to provide a streamlined participation option for smaller C&I customers installing energy-efficient equipment.

# Small Commercial Audit Program

The Small Commercial Audit program provides an on-site audit for small non-residential customers to identify energy savings opportunities and to inform them of Aquila’s other programs to assist them in making energy efficiency upgrades. Expenditures and participation for the small commercial audit program are shown in Table 30. Impacts for this program are achieved primarily through adoption of recommendations made through the audits and through participation in the rebate programs.

Table 30. Small Commercial Audit Summary

|  | Budget or Goal | Actual | % Budget |
| --- | --- | --- | --- |
| Expenditures | $105,268 | $84,566 | 80% |
| Participation | 183 | 129 | 71% |

# Commercial and Industrial Prescriptive Rebates

The Commercial and Industrial Prescriptive Rebate Program provides a streamlined participation option for technologies commonly installed through the Custom Rebate Program. Technologies for which a set incentive amount have been established include:

92% to 93.9% AFUE furnaces

94% to 95.9% AFUE furnaces

96% AFUE or higher furnaces

High-efficiency natural gas boilers

Setback thermostats

High-efficiency water heaters

Integrated space and water heaters

High-efficiency commercial ovens and ranges

Participation in the Prescriptive Rebate program is summarized in Table 31.

Table 31. Commercial and Industrial Prescriptive Rebate Participation Summary

| Measure | Incentive Level | Installations |
| --- | --- | --- |
| High-Efficiency Commercial Furnace 92% AFUE | $225 | 187 |
| High-Efficiency Commercial Furnace 94% AFUE | $300 | 70 |
| High-Efficiency Commercial Furnace 96% AFUE | $375 | 1 |
| Integrated Space & Water Heating | $500 | 1 |
| High-Efficiency Water Heater (<= 60 Gal.) 0.62 EF | $40 | 4 |
| High-Efficiency Water Heater (<= 60 Gal.) 0.64 EF | $40 | 1 |
| High-Efficiency Water Heater (<= 60 Gal.) 0.66 EF | $40 | 1 |
| Setback Thermostat (Professional Installation) | $50 | 15 |
| Setback Thermostat (Self-Installation) | $50 | 304 |

Table 32 provides a summary of the Prescriptive Rebate program performance compared to budget and goals.

Table 32. Commercial and Industrial Prescriptive Rebates Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $126,321 | $139,255 | 110% |
| Energy Impacts (MCF) | 16,706 | 15,878 | 95% |
| Demand Impacts (MCF/day) | 124 | 118 | 95% |
| Participation | 366 | 240 | 66% |

Cost-effectiveness of the program is shown in Table 33.

Table 33. Commercial and Industrial Prescriptive Rebate Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $467,297 | $1,704,671 | $1,237,374 | 3.65 |
| UCT | $126,722 | $1,155,738 | $1,029,016 | 9.12 |
| RIM | $942,624 | $1,155,738 | $213,114 | 1.23 |
| PCT | $320,268 | $811,079 | $490,811 | 2.53 |

# Commercial and Industrial Custom Rebates

This program is designed to encourage the installation of efficient natural gas equipment by providing incentives in the commercial and industrial sectors. All projects are analyzed by Aquila using a societal cost-effectiveness screening. To conduct this analysis, Aquila works with customers to assess the project costs, the costs of an alternate approach in which standard efficiency equipment would be installed, and the expected impact (in annual Therms savings) of the energy-efficient technology choices. Examples of technologies installed through the custom rebate program include:

High efficiency gas boilers

Thermal envelope measures for commercial buildings

Process-related equipment for industrial or agricultural customers

Other equipment not addressed through the Prescriptive Rebate program

Incentives for the custom rebate program were designed to provide a two-year payback for the participant’s investment, not to exceed 50% of the incremental project cost. This program has historically met the goals for participation and impacts, using a fraction of the allocated budget. In 2006, 70 projects were completed, representing 104% of the program goal of 67 participants. This is a significant increase in participation relative to the 25 projects completed in 2005. However, actual expenses increased significantly as well in 2006, up from 95% of budget to 137% of budget.

Table 34 compares the Custom Rebate program budget and goals to actual performance in 2006.

Table 34. Commercial and Industrial Custom Rebates Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $142,111 | $194,448 | 137% |
| Energy Impacts (MCF) | 4,640 | 13,785 | 297% |
| Demand Impacts (MCF/day) | 60 | 178 | 297% |
| Participation | 67 | 70 | 104% |

Table 35 shows the cost-effectiveness of the Commercial and Industrial Custom Rebate program.

Table 35. Commercial Custom Rebates Cost Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $526,433 | $1,479,914 | $953,481 | 2.81 |
| UCT | $176,948 | $1,003,356 | $826,408 | 5.67 |
| RIM | $885,275 | $1,003,356 | $118,081 | 1.13 |
| PCT | $326,642 | $704,140 | $377,498 | 2.16 |

The cost-effectiveness of the three commercial and industrial program components, including the audit program, is shown in Table 36.

Table 36. Commercial and Industrial Program Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $1,078,295 | $3,184,585 | $2,106,290 | 2.95 |
| UCT | $388,236 | $2,159,094 | $1,770,858 | 5.56 |
| RIM | $1,912,465 | $2,159,094 | $246,629 | 1.13 |
| PCT | $646,910 | $1,515,218 | $868,309 | 2.34 |

Special Programs

Aquila supports a variety of efforts to promote efficiency to hard-to reach or vulnerable energy consumers. These initiatives include:

Low-Income Assistance Programs

Weatherization

Energy Education

Habitat for Humanity

Multi-Family Efficiency Improvements

School-Based Energy Education

Trees Forever and Trees for Kids

Iowa Energy Center and Center for Global & Regional Environmental Research

# Low-Income Assistance Programs

## Low-Income Weatherization Program

This program represented Aquila’s assistance to community action agencies in funding the weatherization of low-income households. Measures included:

Building shell and heating system inspection and adjustment (cleaning furnace, caulking, etc.)

Wall insulation

Ceiling insulation

Infiltration reduction

Foundation/crawl space insulation

Band joist insulation

Hot water temperature turndown

Water heater wraps

Pipe insulation

Low-flow showerheads

Faucet aerators

In 2006, Aquila provided $427,974 to the Department of Human Rights (DHR) for this effort. Aquila’s assistance helped to provide weatherization assistance to 139 homes, saving an estimated 3,119 MCF, or approximately 224 Therms per home.

## Low-Income Energy Education

Aquila provides energy education materials and low-cost efficiency measures to customers qualifying for Energy Assistance, with the goal of helping these customers reduce their overall energy burden. Delivered through local community action agencies, participants either attend a one-hour workshop or are visited in their home by an agency staff person. During their energy education session they receive a Home Savings Kit. Once they have installed the various measures in the kit and taken other energy savings actions, participants complete a short survey and return it to their agency. With joint funding from the Alliant Energy-IPL and MidAmerican Energy, the program provided energy education to 4,000 homes during the 2006 heating season.

This year’s program evaluation was enhanced by incorporating consideration of non-respondent participant measure installations and behavioral changes at a level equal to that of 50% of respondents. This reduced savings on an average participant level, but the program overall remained highly cost-effective. The utility sponsors, including Aquila, increased program funding in 2007 to serve 5,000 households.

The allotted budget for this project was $49,487 in 2006. Actual expenditures and program impacts are shown in Table 37.

Table 37. Low-Income Energy Education Summary

|  | Budget or Goal | Actual | % Budget |
| --- | --- | --- | --- |
| Expenditures | $49,487 | $56,290 | 114% |
| Energy Impacts (MCF)* | 4,415 |
| Demand Impacts (MCF/day)* | 12 |
| Participation ** | 4,000 | 4,000 | 100% |
| * No impact goals were established in the EEP, but Aquila savings based on program assessment are reported. ** Participation goal is for the program as a whole, across all three utility service areas. |

## Habitat for Humanity

Homes built through Habitat for Humanity qualify for increased incentives for energy-efficient technologies and building envelope measures, as well as funding for Home Energy Ratings or inspections to ensure they meet requirements for the ENERGY STAR label. In addition, incentives for high-efficiency clothes washers are available to homes with high-efficiency clothes dryers. Annual expenditures for the Habitat for Humanity program were $17,573. These dollars served seven homes in 2006.

## Multi-Family Efficiency Improvement Initiative

Aquila has actively participated in the development of the Multi-Family Efficiency Improvement Initiative with the Iowa Finance Authority and the other major Iowa utilities. This program provides low-cost measures and enhanced incentives to the owners and developers of affordable multi-family housing. In 2006, comprehensive audits were performed on six properties, representing 342 housing units.

## Weatherization Team

Aquila’s Weatherization Teams brought together 129 volunteers from Aquila staff, the Iowa Utilities Board staff, and the community to weatherize homes of 45 low-income households in 14 Iowa communities. Aquila provided an energy audit of each home and identified needed weatherization or health and safety work prior to the work days in late October and early November 2006.

The weatherization teams provided the following services free of charge to the 45 homes served:

Caulking around doors and windows

Weather stripping around door and windows

Installing of door sweep(s)

Installation of plastic window film on the interior and exterior

Filling/sealing holes in sidewalls and foundation

Hot water heater blankets

Hot water pipe insulation

Furnace filter replacements

High-efficiency showerheads

Programmable thermostats

Kitchen and bathroom high-efficiency faucet aerators

The weatherization teams also performed a number of health and safety improvements in homes and even cleaned out the gutters for several home owners.

Expenditures, participation and program impacts are detailed below in Table 38.

Table 38. Weatherization Team Summary

| Expenditures* | $17,739 |
| --- | --- |
| Energy Impacts (MCF)* | 398 |
| Demand Impacts (MCF/day) | 7 |
| Volunteers | 129 |
| Participation | 45 |
| * No budget or goals were established for weatherization team, estimated impacts are reported. |

# School-Based Energy Education

Aquila offered school-based energy education to 6th graders at 15 elementary schools in Denison and Council Bluffs.

A total of 829 kits were distributed through the program in 2006. Based on the feedback from students on baseline energy consumption characteristics and the installation of kit measures, we estimate the average participant saved 386 kWh and 22.1 Therms.

Table 39 provides a summary and comparison of program budget and goals to actual program performance for 2006.

Table 39. School-Based Energy Education Summary

|  | Budget or Goal | Actual | % Budget or Goal Achieved |
| --- | --- | --- | --- |
| Expenditures | $49,476 | $55,743 | 113% |
| Energy Impacts (MCF) | 927 | 2,042 | 220% |
| Demand Impacts (MCF/day) | 3 | 6 | 222% |
| Participation | 1,044 | 829 | 79% |

In addition, Aquila customers saved 281,145 kWh and over 3,000,000 gallons of water through the program.

Cost-effectiveness of this program component, not including electric savings benefits, is shown in Table 40.

Table 40. School-Based Energy Education
Cost-Effectiveness

| Test | Total Discounted Costs | Total Discounted Benefits | Net Present Value | Benefit/Cost Ratio |
| --- | --- | --- | --- | --- |
| SOC | $52,992 | $79,086 | $26,094 | 1.49 |
| UCT | $50,726 | $58,978 | $8,252 | 1.16 |
| RIM | $98,151 | $58,978 | ($39,173) | 0.60 |
| PCT | $0 | $47,216 | $47,216 | N/A |

# Trees Forever and Trees for Kids

These two programs are designed to promote tree planting for energy efficiency and overall environmental improvement. In 2006, Aquila provided funding to Trees Forever, a non-profit agency whose mission is “to plant and care for trees and the environment by empowering people, building community, and promoting stewardship” and to the Iowa Department of Natural Resources for the Trees for Kids program. Total expenditures for tree programs were $116,473.

# Iowa Energy Center and Center for Global & Regional Environmental Research

Aquila also provided funding through the energy efficiency planning process for the Iowa Energy Center and the Center for Global and Regional Environmental Research. Both of these are funded as a percent of total revenues. Differences between budgeted and actual expenditures are due to differences between expected and actual revenues. A total of $176,850 was provided to support these organizations.

Cost-Effectiveness Assumptions

Table 41. Discount Rates

|  | Rate | Data Source |
| --- | --- | --- |
| Societal Discount Rate | 5.19% | 12-month average of the 10-year and 30-year Treasury Bond rate (8/2001 – 7/2002) |
| Utility Discount Rate | 9.89% | Applies to Utility Cost test and Ratepayer Impact test. |
| Participant Discount Rate | 10.0% | Assumption; applies to Participant test perspective only |
| Gas Cost Inflation | 2.5% | Energy Information Administration' Annual Energy Outlook 2002 (EIA AEO 2002) GDP Price Index 2000 – 2020 |

Table 42. Avoided Costs

| Year | Calendar Year | Savings |
| --- | --- | --- |
|  |  | Peak Day | Winter | Summer |
| 1 | 1994 | $52.86 | $2.47 | $2.32 |
| 2 | 1995 | $52.61 | $2.64 | $2.49 |
| 3 | 1996 | $53.93 | $2.92 | $2.75 |
| 4 | 1997 | $55.29 | $3.23 | $3.05 |
| 5 | 1998 | $56.95 | $3.57 | $3.39 |
| 6 | 1999 | $58.66 | $3.96 | $3.76 |
| 7 | 2000 | $60.43 | $4.39 | $4.28 |
| 8 | 2001 | $62.25 | $4.86 | $4.64 |
| 9 | 2002 | $64.12 | $5.38 | $5.15 |
| 10 | 2003 | $66.06 | $5.96 | $5.72 |
| 11 | 2004 | $68.05 | $6.60 | $6.34 |
| 12 | 2005 | $70.09 | $7.31 | $7.04 |
| 13 | 2006 | $72.21 | $8.11 | $7.80 |
| 14 | 2007 | $74.38 | $8.98 | $8.66 |
| 15 | 2008 | $76.63 | $9.94 | $9.61 |
| 16 | 2009 | $78.93 | $11.02 | $10.65 |
| 17 | 2010 | $81.31 | $12.20 | $11.81 |
| 18 | 2011 | $83.76 | $13.51 | $13.10 |
| 19 | 2012 | $86.28 | $14.96 | $14.52 |
| 20 | 2013 | $88.88 | $16.58 | $16.10 |
| 21 | 2014 | $91.56 | $18.36 | $17.85 |
| 22 | 2015 | $94.32 | $20.34 | $19.78 |
| 23 | 2016 | $97.16 | $22.53 | $21.93 |
| 24 | 2017 | $100.09 | $24.95 | $24.31 |
| 25 | 2018 | $103.10 | $27.64 | $26.93 |
| 26 | 2019 | $106.22 | $30.61 | $29.85 |
| 27 | 2020 | $109.41 | $33.91 | $33.08 |
| 28 | 2021 | $112.71 | $37.55 | $36.65 |
| 29 | 2022 | $116.11 | $41.59 | $40.61 |
| 30 | 2023 | $119.62 | $46.06 | $45.00 |

# Footnotes

Two programs targeted at a low-income population did not increase their budgets by 2.6%. The 2006 contract with Iowa state’s Department of Human Rights provided for weatherization funding in the amount of $422,089. The Multi-Family Efficiency Improvement Program had expected funding of $47,809.

Measure costs are calculated as two times that of the rebates delivered.

Measure costs are calculated as 1.5 times the provided rebates.

Measure costs are calculated at two times the provided rebates.

Measure costs are calculated at two times the provided rebates.

Measure costs are estimated to be three times the provided rebates.

Measure costs are estimated to be two times the provided rebates.

Measure costs are estimated to be four times the provided rebates.

Final savings estimates for the weatherization program for 2006 will be available in mid-2007.